## Appendix C
Appendix C. Summary of Seasonal Kendall's Test results for Skagit County Monitoring Program
Site | Parameter | N | Slope | Z | Significant?
3 | pH | 77 | 0.059 | 2.918 | Y
| DO | 78 | -0.261 | -1.105 | N
| Temp | 78 | -0.201 | -0.41 | N
| Turb | 78 | 0.794 | 1.443 | N
| FC | 78 | 17.7 | 1.91 | N
| NH3 | 39 | -0.01 | -1.073 | N
| TKN | 39 | 0 | 0.493 | N
| TP | 39 | 0 | 1.079 | N
| WQI | 36 | -5.112 | -1.479 | N
4 | pH | 77 | 0.056 | 2.005 | Y
| DO | 78 | 0.208 | 2.138 | Y
| Temp | 78 | -0.223 | -0.606 | N
| Turb | 78 | 3.448 | 2.886 | Y
| FC | 77 | 182.5 | 2.753 | Y
| NH3 | 39 | 0.022 | 2.708 | Y
| TKN | 39 | 0 | 0.816 | N
| TP | 39 | 0 | 0.81 | N
| WQI | 36 | -5.223 | -1.104 | N
6 | pH | 77 | 0.07 | 1.748 | N
| DO | 78 | 0.241 | 2.193 | Y
| Temp | 78 | -0.205 | -0.481 | N
| Turb | 78 | -0.157 | -0.837 | N
| FC | 78 | 0 | 0.522 | N
| NH3 | 39 | 0 | 0.233 | N
| TKN | 39 | 0 | 0.441 | N
| TP | 39 | 0 | -1.006 | N
| WQI | 36 | 0 | 0.214 | N
8 | pH | 77 | 0.093 | 4.293 | Y
| DO | 78 | 0.358 | 2.655 | Y
| Temp | 78 | -0.199 | -0.535 | N
| Turb | 78 | 0.07 | 0.178 | N
| FC | 78 | 0 | 0.253 | N
| NH3 | 39 | 0 | 0.306 | N
| TKN | 39 | 0 | -0.171 | N
| TP | 39 | 0 | 0.53 | N
| WQI | 36 | 0.931 | 1.173 | N
11 | pH | 77 | 0.041 | 2.169 | Y
| DO | 78 | 0.043 | 0.178 | N
| Temp | 78 | -0.295 | -0.82 | N
| Turb | 78 | -0.515 | -3.1 | Y
| FC | 78 | 0 | 0.055 | N
| NH3 | 39 | 0.009 | 2.223 | Y
| TKN | 39 | 0 | -0.078 | N
| TP | 39 | 0 | -0.123 | N
| WQI | 36 | 0.983 | 1.56 | N
Appendix C (con't.) Summary of Seasonal Kendall's Test results for Skagit County Monitoring Program
Site | Parameter | N | Slope | Z | Significant?
12 | pH | 78 | 0.079 | 4.307 | Y
| DO | 78 | 0.118 | 0.481 | N
| Temp | 78 | -0.301 | -0.874 | N
| Turb | 78 | 0.097 | 0.303 | N
| FC | 78 | 0 | -0.181 | N
| NH3 | 39 | 0.01 | 0.639 | N
| TKN | 39 | 0 | 0.053 | N
| TP | 39 | 0 | -0.722 | N
| WQI | 36 | 1.738 | 1.031 | N
13 | pH | 78 | 0.067 | 3.193 | Y
| DO | 78 | 0.358 | 2.853 | Y
| Temp | 78 | -0.292 | -0.963 | N
| Turb | 78 | -0.145 | -0.82 | N
| FC | 78 | 0 | 0.803 | N
| NH3 | 39 | 0.005 | 1.361 | N
| TKN | 39 | 0 | -0.364 | N
| TP | 39 | 0 | -1.592 | N
| WQI | 36 | 0.483 | 0.825 | N
14 | pH | 77 | 0.052 | 2.113 | Y
| DO | 78 | -0.042 | -0.57 | N
| Temp | 78 | -0.634 | -1.856 | N
| Turb | 78 | 0.519 | 1.265 | N
| FC | 78 | 0 | 0.434 | N
| NH3 | 38 | 0 | 0.512 | N
| TKN | 38 | 0 | -0.27 | N
| TP | 38 | 0 | -1.224 | N
| WQI | 36 | 0.931 | 0.379 | N
15 | pH | 78 | 0.093 | 5.219 | Y
| DO | 78 | 0.138 | 0.802 | N
| Temp | 78 | -0.34 | -1.034 | N
| Turb | 78 | 0.431 | 1.943 | N
| FC | 78 | 0 | -0.109 | N
| NH3 | 39 | 0 | 0.197 | N
| TKN | 39 | 0 | -0.547 | N
| TP | 39 | 0 | 0.682 | N
| WQI | 36 | 0 | -0.055 | N
16 | pH | 78 | 0.08 | 2.908 | Y
| DO | 78 | 0.104 | 0.838 | N
| Temp | 78 | -0.307 | -0.963 | N
| Turb | 78 | -0.146 | -1.195 | N
| FC | 78 | -8.006 | -2.548 | Y
| NH3 | 39 | 0 | 0.48 | N
| TKN | 39 | 0 | -1.624 | N
| TP | 39 | 0 | 0 | N
| WQI | 36 | 1.003 | 1.759 | N
Appendix C (con't.) Summary of Seasonal Kendall's Test results for Skagit County Monitoring Program
Site | Parameter | N | Slope | Z | Significant?
17 | pH | 78 | 0.091 | 2.698 | Y
| DO | 78 | 0.143 | 1.479 | N
| Temp | 78 | -0.401 | -0.98 | N
| Turb | 78 | 0.013 | 0.196 | N
| FC | 76 | 0 | 0.49 | N
| NH3 | 39 | 0.009 | 1.632 | N
| TKN | 39 | 0 | 1.023 | N
| TP | 39 | 0 | 0 | N
| WQI | 36 | 0 | -0.167 | N
18 | pH | 78 | 0.066 | 3.446 | Y
| DO | 78 | 0.18 | 1.639 | N
| Temp | 78 | -0.401 | -1.319 | N
| Turb | 78 | 0.01 | 0.089 | N
| FC | 78 | 0 | -0.98 | N
| NH3 | 39 | 0 | -0.383 | N
| TKN | 39 | 0 | -0.458 | N
| TP | 39 | 0 | -0.857 | N
| WQI | 36 | 0 | 0.056 | N
19 | pH | 77 | 0.093 | 2.988 | Y
| DO | 78 | 0.223 | 1.889 | N
| Temp | 78 | -0.254 | -0.66 | N
| Turb | 78 | -0.049 | -0.249 | N
| FC | 78 | 0 | 0.798 | N
| NH3 | 39 | 0 | 1.318 | N
| TKN | 39 | 0 | -0.801 | N
| TP | 39 | 0 | 0 | N
| WQI | 36 | 0.474 | 0.698 | N
20 | pH | 77 | 0.104 | 3.971 | Y
| DO | 78 | 0.316 | 3.064 | Y
| Temp | 78 | -0.129 | -0.535 | N
| Turb | 78 | 0.118 | 0.766 | N
| FC | 77 | 9.244 | 1.995 | Y
| NH3 | 39 | 0 | 1.306 | N
| TKN | 39 | 0 | -0.818 | N
| TP | 39 | 0 | -0.903 | N
| WQI | 36 | 1.912 | 1.158 | N
21 | pH | 65 | 0.088 | 3.277 | Y
| DO | 66 | 0.246 | 1.284 | N
| Temp | 66 | -0.31 | -0.435 | N
| Turb | 66 | -0.428 | -1.263 | N
| FC | 66 | 6.76 | 0.77 | N
| NH3 | 34 | 0 | 0.201 | N
| TKN | 34 | 0 | -1.196 | N
| TP | 34 | 0 | -0.735 | N
| WQI | 35 | 1.003 | 1.014 | N
Appendix C (con't.) Summary of Seasonal Kendall's Test results for Skagit County Monitoring Program
Site | Parameter | N | Slope | Z | Significant?
22 | pH | 77 | 0.15 | 4.262 | Y
| DO | 78 | 0.161 | 1.55 | N
| Temp | 78 | -0.255 | -0.588 | N
| Turb | 78 | -0.136 | -0.842 | N
| FC | 77 | 0 | 0.45 | N
| NH3 | 39 | 0 | 0.816 | N
| TKN | 39 | 0 | 0.442 | N
| TP | 39 | 0 | 0.49 | N
| WQI | 36 | 0.492 | 0.585 | N
23 | pH | 74 | 0.108 | 2.97 | Y
| DO | 75 | 0.084 | 0.465 | N
| Temp | 75 | -0.185 | -0.465 | N
| Turb | 75 | 0.056 | 0.429 | N
| FC | 75 | 1.033 | 1.057 | N
| NH3 | 38 | 0 | 1.625 | N
| TKN | 38 | 0 | 0.248 | N
| TP | 38 | 0 | -0.317 | N
| WQI | 36 | 0 | 0.106 | N
24 | pH | 77 | 0.051 | 3.6 | Y
| DO | 78 | 0.27 | 1.158 | N
| Temp | 78 | -0.218 | -0.678 | N
| Turb | 78 | -0.688 | -0.606 | N
| FC | 76 | -8.329 | -3.199 | Y
| NH3 | 39 | 0 | 0 | N
| TKN | 39 | 0 | -1.459 | N
| TP | 39 | 0 | 0 | N
| WQI | 36 | 5.522 | 1.737 | N
25 | pH | 67 | 0.129 | 3.033 | Y
| DO | 68 | 0.185 | 1.715 | N
| Temp | 68 | 0 | 0.02 | N
| Turb | 68 | 0 | -0.517 | N
| FC | 67 | 0 | -0.474 | N
| NH3 | 35 | 0 | 0 | N
| TKN | 35 | 0 | -0.335 | N
| TP | 35 | 0 | 0 | N
| WQI | 35 | 0.502 | 1.149 | N
28 | pH | 58 | -0.009 | -0.117 | N
| DO | 59 | 0.284 | 0.789 | N
| Temp | 59 | -0.222 | -0.746 | N
| Turb | 59 | 1.093 | 3.066 | Y
| FC | 59 | 0 | -0.091 | N
| NH3 | 30 | N/A
| TKN | 30 | N/A
| TP | 30 | N/A
| WQI | 30 | N/A
Appendix C (con't.) Summary of Seasonal Kendall's Test results for Skagit County Monitoring Program
Site | Parameter | N | Slope | Z | Significant?
29 | pH | 78 | 0.095 | 1.443 | N
| DO | 78 | 0.138 | 1.229 | N
| Temp | 78 | -0.146 | -0.464 | N
| Turb | 78 | -2.542 | -3.385 | Y
| FC | 75 | -2.046 | -1.823 | N
| NH3 | 38 | 0 | 0.915 | N
| TKN | 38 | 0 | -1.168 | N
| TP | 37 | 0 | -1.15 | N
| WQI | 36 | 1.295 | 1.396 | N
30 | pH | 76 | 0.098 | 3.998 | Y
| DO | 77 | 0.116 | 1.755 | N
| Temp | 77 | 0.09 | 0.308 | N
| Turb | 77 | -1.486 | -2.008 | Y
| FC | 74 | 0 | 1.102 | N
| NH3 | 38 | 0 | 0 | N
| TKN | 38 | 0 | 0.49 | N
| TP | 38 | 0 | -0.335 | N
| WQI | 36 | 1.934 | 2.135 | Y
31 | pH | 44 | 0.091 | 1.158 | N
| DO | 44 | 0.652 | 0.681 | N
| Temp | 44 | -0.559 | -0.852 | N
| Turb | 44 | -2.683 | -0.784 | N
| FC | 43 | 19.31 | 1.753 | N
| NH3 | 22 | N/A
| TKN | 22 | N/A
| TP | 22 | N/A
| WQI | 22 | N/A
32 | pH | 76 | 0.028 | 0.503 | N
| DO | 78 | 0.271 | 1.675 | N
| Temp | 78 | -0.103 | -0.321 | N
| Turb | 78 | 0.01 | 0.036 | N
| FC | 78 | 0 | 1.19 | N
| NH3 | 39 | 0.009 | 1.245 | N
| TKN | 39 | 0 | -0.077 | N
| TP | 39 | 0 | 0.54 | N
| WQI | 36 | 0.492 | 0.864 | N
33 | pH | 77 | 0.063 | 0.928 | N
| DO | 77 | -0.317 | -0.85 | N
| Temp | 78 | -0.193 | -0.321 | N
| Turb | 78 | -1.746 | -0.944 | N
| FC | 78 | -6.889 | -0.848 | N
| NH3 | 39 | -0.034 | -0.435 | N
| TKN | 39 | -0.06 | -0.145 | N
| TP | 39 | -0.012 | -0.435 | N
| WQI | 33 | 2.333 | 0.738 | N
Appendix C (con't.) Summary of Seasonal Kendall's Test results for Skagit County Monitoring Program
Site | Parameter | N | Slope | Z | Significant?
34 | pH | 76 | 0.128 | 2.979 | Y
| DO | 76 | 0.304 | 0.595 | N
| Temp | 76 | -0.651 | -1.266 | N
| Turb | 76 | 2.473 | 1.674 | N
| FC | 74 | 33.64 | 1.497 | N
| NH3 | 38 | -0.038 | -1.072 | N
| TKN | 38 | 0.104 | 1.022 | N
| TP | 38 | 0.033 | 1.427 | N
| WQI | 34 | 0 | -1.37 | N
35 | pH | 69 | 0.063 | 2.513 | Y
| DO | 71 | -0.041 | -0.203 | N
| Temp | 71 | -0.405 | -1.524 | N
| Turb | 71 | 8.258 | 3.468 | Y
| FC | 69 | 0 | 0.194 | N
| NH3 | 36 | 0.168 | 2.921 | Y
| TKN | 36 | 0.193 | 2.509 | Y
| TP | 36 | 0.028 | 1.63 | N
| WQI | 34 | 0 | -0.688 | N
36 | pH | 77 | -0.01 | -0.109 | N
| DO | 77 | -0.517 | -2.234 | Y
| Temp | 78 | -0.621 | -0.945 | N
| Turb | 78 | 0.294 | 0.624 | N
| FC | 78 | 0 | -0.684 | N
| NH3 | 39 | -0.019 | -0.773 | N
| TKN | 39 | -0.08 | -0.773 | N
| TP | 39 | 0 | 0.106 | N
| WQI | 36 | 0 | 0 | N
37 | pH | 77 | 0 | -0.036 | N
| DO | 77 | -0.731 | -1.984 | Y
| Temp | 78 | -0.957 | -1.8 | N
| Turb | 78 | 0.453 | 0.357 | N
| FC | 78 | 23.2 | 1.771 | N
| NH3 | 39 | 0.293 | 2.412 | Y
| TKN | 39 | 0.217 | 1.787 | N
| TP | 39 | 0 | -0.048 | N
| WQI | 36 | 0 | -0.324 | N
38 | pH | 76 | 0.027 | 0.499 | N
| DO | 72 | -0.573 | -2.03 | Y
| Temp | 76 | -0.104 | -0.276 | N
| Turb | 77 | -0.74 | -0.47 | N
| FC | 77 | 0 | -0.274 | N
| NH3 | 39 | -0.065 | -0.29 | N
| TKN | 39 | -0.02 | -0.145 | N
| TP | 39 | -0.015 | -0.388 | N
| WQI | 36 | 0 | -0.054 | N
Appendix C (con't.) Summary of Seasonal Kendall's Test results for Skagit County Monitoring Program
Site | Parameter | N | Slope | Z | Significant?
39 | pH | 77 | 0.077 | 2.824 | Y
| DO | 78 | 0.295 | 1.693 | N
| Temp | 78 | -0.295 | -0.57 | N
| Turb | 77 | 0.149 | 0.127 | N
| FC | 78 | 0 | 0.631 | N
| NH3 | 39 | 0 | -0.503 | N
| TKN | 39 | 0 | 0.55 | N
| TP | 39 | 0 | -0.218 | N
| WQI | 36 | 1.009 | 0.583 | N
40 | pH | 75 | 0.09 | 4.845 | Y
| DO | 75 | 0.471 | 1.824 | N
| Temp | 75 | 0.152 | 0.391 | N
| Turb | 75 | -0.048 | 0.037 | N
| FC | 73 | 1.613 | 0.84 | N
| NH3 | 38 | -0.062 | -1.8 | N
| TKN | 38 | 0.022 | 0.658 | N
| TP | 38 | 0 | -0.653 | N
| WQI | 36 | 4.676 | 1.197 | N
41 | pH | 78 | 0.039 | 1.765 | N
| DO | 78 | 0.382 | 1.514 | N
| Temp | 78 | -0.563 | -1.622 | N
| Turb | 78 | 1.7 | 3.456 | Y
| FC | 78 | 20.08 | 2.868 | Y
| NH3 | 39 | 0.029 | 1.221 | N
| TKN | 39 | 0 | 0.972 | N
| TP | 39 | 0 | 0.282 | N
| WQI | 36 | -0.466 | 0 | N
42 | pH | 77 | 0.08 | 5.185 | Y
| DO | 77 | 0.434 | 2.752 | Y
| Temp | 77 | -0.251 | -0.779 | N
| Turb | 77 | 0.21 | 0.923 | N
| FC | 74 | 0.246 | 1.136 | N
| NH3 | 39 | 0.01 | 1.614 | N
| TKN | 39 | 0 | 0.301 | N
| TP | 39 | 0 | 0.207 | N
| WQI | 36 | 1.534 | 1.416 | N
43 | pH | 78 | 0.024 | 0.803 | N
| DO | 78 | -0.083 | -0.0303 | N
| Temp | 77 | -0.695 | -1.774 | N
| Turb | 78 | 1.152 | 2.316 | Y
| FC | 77 | 0 | -0.166 | N
| NH3 | 39 | 0.03 | 0.918 | N
| TKN | 39 | 0.042 | 0.533 | N
| TP | 39 | 0 | -1.109 | N
| WQI | 36 | 0 | 0.164 | N
Appendix C (con't.) Summary of Seasonal Kendall's Test results for Skagit County Monitoring Program
Site | Parameter | N | Slope | Z | Significant?
44 | pH | 35 | -0.104 | -0.597 | N
| DO | 34 | -1.011 | -0.591 | N
| Temp | 35 | -0.7 | -1.136 | N
| Turb | 35 | -3.476 | -1.551 | N
| FC | 34 | 0 | 0 | N
| NH3 | 18 | N/A
| TKN | 18 | N/A
| TP | 18 | N/A
| WQI | 18 | N/A
45 | pH | 76 | 0.1 | 3.826 | Y
| DO | 76 | 0.146 | 1.69 | N
| Temp | 76 | -0.072 | -0.202 | N
| Turb | 76 | -2.265 | -3.029 | Y
| FC | 74 | 0 | 0.756 | N
| NH3 | 38 | 0 | 1.893 | N
| TKN | 38 | 0 | 0.677 | N
| TP | 38 | 0 | -1.881 | N
| WQI | 36 | 0.95 | 1.479 | N
46 | pH | 77 | 0.042 | 1.987 | Y
| DO | 77 | 0.108 | 1.857 | N
| Temp | 77 | -0.191 | -0.619 | N
| Turb | 77 | -2.542 | -3.294 | Y
| FC | 76 | 0 | -1.631 | N
| NH3 | 38 | 0 | 0.974 | N
| TKN | 38 | 0 | 0 | N
| TP | 38 | 0 | -1.592 | N
| WQI | 36 | 0 | 0.764 | N
47 | pH | 78 | 0.086 | 3.424 | Y
| DO | 78 | 0.231 | 1.924 | N
| Temp | 78 | -0.142 | -0.643 | N
| Turb | 78 | -0.325 | -0.748 | N
| FC | 77 | 0 | -0.62 | N
| NH3 | 39 | 0.01 | 1.921 | N
| TKN | 39 | 0 | -0.385 | N
| TP | 39 | 0 | -0.602 | N
| WQI | N/A
48 | pH | 78 | 0.054 | 2.372 | Y
| DO | 78 | 0.164 | 1.8 | N
| Temp | 78 | -0.34 | -1.57 | N
| Turb | 78 | 0.322 | 1.711 | N
| FC | 76 | 0 | 0.514 | N
| NH3 | 39 | 0.01 | 1.862 | N
| TKN | 39 | 0 | -0.21 | N
| TP | 39 | 0 | -0.112 | N
| WQI | 36 | 0 | 0.387 | N

## Sheet1
Appendix C. Summary of Seasonal Kendall's Test results for Skagit County Monitoring Program
Site | Parameter | N | Slope | Z | Significant?
3 | pH | 77 | 0.059 | 2.918 | Y | *
| DO | 78 | -0.261 | -1.105 | N
| Temp | 78 | -0.201 | -0.41 | N
| Turb | 78 | 0.794 | 1.443 | N
| FC | 78 | 17.7 | 1.91 | N
| NH3 | 39 | -0.01 | -1.073 | N
| TKN | 39 | 0 | 0.493 | N
| TP | 39 | 0 | 1.079 | N
| WQI | 36 | -5.112 | -1.479 | N
4 | pH | 77 | 0.056 | 2.005 | Y | *
| DO | 78 | 0.208 | 2.138 | Y
| Temp | 78 | -0.223 | -0.606 | N
| Turb | 78 | 3.448 | 2.886 | Y | *
| FC | 77 | 182.5 | 2.753 | Y | *
| NH3 | 39 | 0.022 | 2.708 | Y | *
| TKN | 39 | 0 | 0.816 | N
| TP | 39 | 0 | 0.81 | N
| WQI | 36 | -5.223 | -1.104 | N
6 | pH | 77 | 0.07 | 1.748 | N
| DO | 78 | 0.241 | 2.193 | Y | *
| Temp | 78 | -0.205 | -0.481 | N
| Turb | 78 | -0.157 | -0.837 | N
| FC | 78 | 0 | 0.522 | N
| NH3 | 39 | 0 | 0.233 | N
| TKN | 39 | 0 | 0.441 | N
| TP | 39 | 0 | -1.006 | N
| WQI | 36 | 0 | 0.214 | N
8 | pH | 77 | 0.093 | 4.293 | Y | *
| DO | 78 | 0.358 | 2.655 | Y | *
| Temp | 78 | -0.199 | -0.535 | N
| Turb | 78 | 0.07 | 0.178 | N
| FC | 78 | 0 | 0.253 | N
| NH3 | 39 | 0 | 0.306 | N
| TKN | 39 | 0 | -0.171 | N
| TP | 39 | 0 | 0.53 | N
| WQI | 36 | 0.931 | 1.173 | N
11 | pH | 77 | 0.041 | 2.169 | Y | *
| DO | 78 | 0.043 | 0.178 | N
| Temp | 78 | -0.295 | -0.82 | N
| Turb | 78 | -0.515 | -3.1 | Y | *
| FC | 78 | 0 | 0.055 | N
| NH3 | 39 | 0.009 | 2.223 | Y | *
| TKN | 39 | 0 | -0.078 | N
| TP | 39 | 0 | -0.123 | N
| WQI | 36 | 0.983 | 1.56 | N
Appendix C (con't.) Summary of Seasonal Kendall's Test results for Skagit County Monitoring Program
Site | Parameter | N | Slope | Z | Significant?
12 | pH | 78 | 0.079 | 4.307 | Y | *
| DO | 78 | 0.118 | 0.481 | N
| Temp | 78 | -0.301 | -0.874 | N
| Turb | 78 | 0.097 | 0.303 | N
| FC | 78 | 0 | -0.181 | N
| NH3 | 39 | 0.01 | 0.639 | N
| TKN | 39 | 0 | 0.053 | N
| TP | 39 | 0 | -0.722 | N
| WQI | 36 | 1.738 | 1.031 | N
13 | pH | 78 | 0.067 | 3.193 | Y | *
| DO | 78 | 0.358 | 2.853 | Y | *
| Temp | 78 | -0.292 | -0.963 | N
| Turb | 78 | -0.145 | -0.82 | N
| FC | 78 | 0 | 0.803 | N
| NH3 | 39 | 0.005 | 1.361 | N
| TKN | 39 | 0 | -0.364 | N
| TP | 39 | 0 | -1.592 | N
| WQI | 36 | 0.483 | 0.825 | N
14 | pH | 77 | 0.052 | 2.113 | Y | *
| DO | 78 | -0.042 | -0.57 | N
| Temp | 78 | -0.634 | -1.856 | N
| Turb | 78 | 0.519 | 1.265 | N
| FC | 78 | 0 | 0.434 | N
| NH3 | 38 | 0 | 0.512 | N
| TKN | 38 | 0 | -0.27 | N
| TP | 38 | 0 | -1.224 | N
| WQI | 36 | 0.931 | 0.379 | N
15 | pH | 78 | 0.093 | 5.219 | Y | *
| DO | 78 | 0.138 | 0.802 | N
| Temp | 78 | -0.34 | -1.034 | N
| Turb | 78 | 0.431 | 1.943 | N
| FC | 78 | 0 | -0.109 | N
| NH3 | 39 | 0 | 0.197 | N
| TKN | 39 | 0 | -0.547 | N
| TP | 39 | 0 | 0.682 | N
| WQI | 36 | 0 | -0.055 | N
16 | pH | 78 | 0.08 | 2.908 | Y | *
| DO | 78 | 0.104 | 0.838 | N
| Temp | 78 | -0.307 | -0.963 | N
| Turb | 78 | -0.146 | -1.195 | N
| FC | 78 | -8.006 | -2.548 | Y | *
| NH3 | 39 | 0 | 0.48 | N
| TKN | 39 | 0 | -1.624 | N
| TP | 39 | 0 | 0 | N
| WQI | 36 | 1.003 | 1.759 | N
17 | pH | 78 | 0.091 | 2.698 | Y | *
| DO | 78 | 0.143 | 1.479 | N
| Temp | 78 | -0.401 | -0.98 | N
| Turb | 78 | 0.013 | 0.196 | N
| FC | 76 | 0 | 0.49 | N
| NH3 | 39 | 0.009 | 1.632 | N
| TKN | 39 | 0 | 1.023 | N
| TP | 39 | 0 | 0 | N
| WQI | 36 | 0 | -0.167 | N
18 | pH | 78 | 0.066 | 3.446 | Y | *
| DO | 78 | 0.18 | 1.639 | N
| Temp | 78 | -0.401 | -1.319 | N
| Turb | 78 | 0.01 | 0.089 | N
| FC | 78 | 0 | -0.98 | N
| NH3 | 39 | 0 | -0.383 | N
| TKN | 39 | 0 | -0.458 | N
| TP | 39 | 0 | -0.857 | N
| WQI | 36 | 0 | 0.056 | N
19 | pH | 77 | 0.093 | 2.988 | Y | *
| DO | 78 | 0.223 | 1.889 | N
| Temp | 78 | -0.254 | -0.66 | N
| Turb | 78 | -0.049 | -0.249 | N
| FC | 78 | 0 | 0.798 | N
| NH3 | 39 | 0 | 1.318 | N
| TKN | 39 | 0 | -0.801 | N
| TP | 39 | 0 | 0 | N
| WQI | 36 | 0.474 | 0.698 | N
20 | pH | 77 | 0.104 | 3.971 | Y | *
| DO | 78 | 0.316 | 3.064 | Y | *
| Temp | 78 | -0.129 | -0.535 | N
| Turb | 78 | 0.118 | 0.766 | N
| FC | 77 | 9.244 | 1.995 | Y | *
| NH3 | 39 | 0 | 1.306 | N
| TKN | 39 | 0 | -0.818 | N
| TP | 39 | 0 | -0.903 | N
| WQI | 36 | 1.912 | 1.158 | N
21 | pH | 65 | 0.088 | 3.277 | Y | *
| DO | 66 | 0.246 | 1.284 | N
| Temp | 66 | -0.31 | -0.435 | N
| Turb | 66 | -0.428 | -1.263 | N
| FC | 66 | 6.76 | 0.77 | N
| NH3 | 34 | 0 | 0.201 | N
| TKN | 34 | 0 | -1.196 | N
| TP | 34 | 0 | -0.735 | N
| WQI | 35 | 1.003 | 1.014 | N
22 | pH | 77 | 0.15 | 4.262 | Y | *
| DO | 78 | 0.161 | 1.55 | N
| Temp | 78 | -0.255 | -0.588 | N
| Turb | 78 | -0.136 | -0.842 | N
| FC | 77 | 0 | 0.45 | N
| NH3 | 39 | 0 | 0.816 | N
| TKN | 39 | 0 | 0.442 | N
| TP | 39 | 0 | 0.49 | N
| WQI | 36 | 0.492 | 0.585 | N
23 | pH | 74 | 0.108 | 2.97 | Y | *
| DO | 75 | 0.084 | 0.465 | N
| Temp | 75 | -0.185 | -0.465 | N
| Turb | 75 | 0.056 | 0.429 | N
| FC | 75 | 1.033 | 1.057 | N
| NH3 | 38 | 0 | 1.625 | N
| TKN | 38 | 0 | 0.248 | N
| TP | 38 | 0 | -0.317 | N
| WQI | 36 | 0 | 0.106 | N
24 | pH | 77 | 0.051 | 3.6 | Y | *
| DO | 78 | 0.27 | 1.158 | N
| Temp | 78 | -0.218 | -0.678 | N
| Turb | 78 | -0.688 | -0.606 | N
| FC | 76 | -8.329 | -3.199 | Y | *
| NH3 | 39 | 0 | 0 | N
| TKN | 39 | 0 | -1.459 | N
| TP | 39 | 0 | 0 | N
| WQI | 36 | 5.522 | 1.737 | N
25 | pH | 67 | 0.129 | 3.033 | Y | *
| DO | 68 | 0.185 | 1.715 | N
| Temp | 68 | 0 | 0.02 | N
| Turb | 68 | 0 | -0.517 | N
| FC | 67 | 0 | -0.474 | N
| NH3 | 35 | 0 | 0 | N
| TKN | 35 | 0 | -0.335 | N
| TP | 35 | 0 | 0 | N
| WQI | 35 | 0.502 | 1.149 | N
28 | pH | 58 | -0.009 | -0.117 | N
| DO | 59 | 0.284 | 0.789 | N
| Temp | 59 | -0.222 | -0.746 | N
| Turb | 59 | 1.093 | 3.066 | Y | *
| FC | 59 | 0 | -0.091 | N
| NH3 | 30 | N/A
| TKN | 30 | N/A
| TP | 30 | N/A
| WQI | 30 | N/A
29 | pH | 78 | 0.095 | 1.443 | N
| DO | 78 | 0.138 | 1.229 | N
| Temp | 78 | -0.146 | -0.464 | N
| Turb | 78 | -2.542 | -3.385 | Y | *
| FC | 75 | -2.046 | -1.823 | N
| NH3 | 38 | 0 | 0.915 | N
| TKN | 38 | 0 | -1.168 | N
| TP | 37 | 0 | -1.15 | N
| WQI | 36 | 1.295 | 1.396 | N
30 | pH | 76 | 0.098 | 3.998 | Y | *
| DO | 77 | 0.116 | 1.755 | N
| Temp | 77 | 0.09 | 0.308 | N
| Turb | 77 | -1.486 | -2.008 | Y
| FC | 74 | 0 | 1.102 | N
| NH3 | 38 | 0 | 0 | N
| TKN | 38 | 0 | 0.49 | N
| TP | 38 | 0 | -0.335 | N
| WQI | 36 | 1.934 | 2.135 | Y | *
31 | pH | 44 | 0.091 | 1.158 | N
| DO | 44 | 0.652 | 0.681 | N
| Temp | 44 | -0.559 | -0.852 | N
| Turb | 44 | -2.683 | -0.784 | N
| FC | 43 | 19.31 | 1.753 | N
| NH3 | 22 | N/A
| TKN | 22 | N/A
| TP | 22 | N/A
| WQI | 22 | N/A
32 | pH | 76 | 0.028 | 0.503 | N
| DO | 78 | 0.271 | 1.675 | N
| Temp | 78 | -0.103 | -0.321 | N
| Turb | 78 | 0.01 | 0.036 | N
| FC | 78 | 0 | 1.19 | N
| NH3 | 39 | 0.009 | 1.245 | N
| TKN | 39 | 0 | -0.077 | N
| TP | 39 | 0 | 0.54 | N
| WQI | 36 | 0.492 | 0.864 | N
33 | pH | 77 | 0.063 | 0.928 | N
| DO | 77 | -0.317 | -0.85 | N
| Temp | 78 | -0.193 | -0.321 | N
| Turb | 78 | -1.746 | -0.944 | N
| FC | 78 | -6.889 | -0.848 | N
| NH3 | 39 | -0.034 | -0.435 | N
| TKN | 39 | -0.06 | -0.145 | N
| TP | 39 | -0.012 | -0.435 | N
| WQI | 33 | 2.333 | 0.738 | N
34 | pH | 76 | 0.128 | 2.979 | Y | *
| DO | 76 | 0.304 | 0.595 | N
| Temp | 76 | -0.651 | -1.266 | N
| Turb | 76 | 2.473 | 1.674 | N
| FC | 74 | 33.64 | 1.497 | N
| NH3 | 38 | -0.038 | -1.072 | N
| TKN | 38 | 0.104 | 1.022 | N
| TP | 38 | 0.033 | 1.427 | N
| WQI | 34 | 0 | -1.37 | N
35 | pH | 69 | 0.063 | 2.513 | Y | *
| DO | 71 | -0.041 | -0.203 | N
| Temp | 71 | -0.405 | -1.524 | N
| Turb | 71 | 8.258 | 3.468 | Y | *
| FC | 69 | 0 | 0.194 | N
| NH3 | 36 | 0.168 | 2.921 | Y | *
| TKN | 36 | 0.193 | 2.509 | Y | *
| TP | 36 | 0.028 | 1.63 | N
| WQI | 34 | 0 | -0.688 | N
36 | pH | 77 | -0.01 | -0.109 | N
| DO | 77 | -0.517 | -2.234 | Y | *
| Temp | 78 | -0.621 | -0.945 | N
| Turb | 78 | 0.294 | 0.624 | N
| FC | 78 | 0 | -0.684 | N
| NH3 | 39 | -0.019 | -0.773 | N
| TKN | 39 | -0.08 | -0.773 | N
| TP | 39 | 0 | 0.106 | N
| WQI | 36 | 0 | 0 | N
37 | pH | 77 | 0 | -0.036 | N
| DO | 77 | -0.731 | -1.984 | Y | *
| Temp | 78 | -0.957 | -1.8 | N
| Turb | 78 | 0.453 | 0.357 | N
| FC | 78 | 23.2 | 1.771 | N
| NH3 | 39 | 0.293 | 2.412 | Y | *
| TKN | 39 | 0.217 | 1.787 | N
| TP | 39 | 0 | -0.048 | N
| WQI | 36 | 0 | -0.324 | N
38 | pH | 76 | 0.027 | 0.499 | N
| DO | 72 | -0.573 | -2.03 | Y | *
| Temp | 76 | -0.104 | -0.276 | N
| Turb | 77 | -0.74 | -0.47 | N
| FC | 77 | 0 | -0.274 | N
| NH3 | 39 | -0.065 | -0.29 | N
| TKN | 39 | -0.02 | -0.145 | N
| TP | 39 | -0.015 | -0.388 | N
| WQI | 36 | 0 | -0.054 | N
39 | pH | 77 | 0.077 | 2.824 | Y | *
| DO | 78 | 0.295 | 1.693 | N
| Temp | 78 | -0.295 | -0.57 | N
| Turb | 77 | 0.149 | 0.127 | N
| FC | 78 | 0 | 0.631 | N
| NH3 | 39 | 0 | -0.503 | N
| TKN | 39 | 0 | 0.55 | N
| TP | 39 | 0 | -0.218 | N
| WQI | 36 | 1.009 | 0.583 | N
40 | pH | 75 | 0.09 | 4.845 | Y | *
| DO | 75 | 0.471 | 1.824 | N
| Temp | 75 | 0.152 | 0.391 | N
| Turb | 75 | -0.048 | 0.037 | N
| FC | 73 | 1.613 | 0.84 | N
| NH3 | 38 | -0.062 | -1.8 | N
| TKN | 38 | 0.022 | 0.658 | N
| TP | 38 | 0 | -0.653 | N
| WQI | 36 | 4.676 | 1.197 | N
41 | pH | 78 | 0.039 | 1.765 | N
| DO | 78 | 0.382 | 1.514 | N
| Temp | 78 | -0.563 | -1.622 | N
| Turb | 78 | 1.7 | 3.456 | Y | *
| FC | 78 | 20.08 | 2.868 | Y | *
| NH3 | 39 | 0.029 | 1.221 | N
| TKN | 39 | 0 | 0.972 | N
| TP | 39 | 0 | 0.282 | N
| WQI | 36 | -0.466 | 0 | N
42 | pH | 77 | 0.08 | 5.185 | Y | *
| DO | 77 | 0.434 | 2.752 | Y | *
| Temp | 77 | -0.251 | -0.779 | N
| Turb | 77 | 0.21 | 0.923 | N
| FC | 74 | 0.246 | 1.136 | N
| NH3 | 39 | 0.01 | 1.614 | N
| TKN | 39 | 0 | 0.301 | N
| TP | 39 | 0 | 0.207 | N
| WQI | 36 | 1.534 | 1.416 | N
43 | pH | 78 | 0.024 | 0.803 | N
| DO | 78 | -0.083 | -0.0303 | N
| Temp | 77 | -0.695 | -1.774 | N
| Turb | 78 | 1.152 | 2.316 | Y | *
| FC | 77 | 0 | -0.166 | N
| NH3 | 39 | 0.03 | 0.918 | N
| TKN | 39 | 0.042 | 0.533 | N
| TP | 39 | 0 | -1.109 | N
| WQI | 36 | 0 | 0.164 | N
44 | pH | 35 | -0.104 | -0.597 | N
| DO | 34 | -1.011 | -0.591 | N
| Temp | 35 | -0.7 | -1.136 | N
| Turb | 35 | -3.476 | -1.551 | N
| FC | 34 | 0 | 0 | N
| NH3 | 18 | N/A
| TKN | 18 | N/A
| TP | 18 | N/A
| WQI | 18 | N/A
45 | pH | 76 | 0.1 | 3.826 | Y | *
| DO | 76 | 0.146 | 1.69 | N
| Temp | 76 | -0.072 | -0.202 | N
| Turb | 76 | -2.265 | -3.029 | Y | *
| FC | 74 | 0 | 0.756 | N
| NH3 | 38 | 0 | 1.893 | N
| TKN | 38 | 0 | 0.677 | N
| TP | 38 | 0 | -1.881 | N
| WQI | 36 | 0.95 | 1.479 | N
46 | pH | 77 | 0.042 | 1.987 | Y | *
| DO | 77 | 0.108 | 1.857 | N
| Temp | 77 | -0.191 | -0.619 | N
| Turb | 77 | -2.542 | -3.294 | Y | *
| FC | 76 | 0 | -1.631 | N
| NH3 | 38 | 0 | 0.974 | N
| TKN | 38 | 0 | 0 | N
| TP | 38 | 0 | -1.592 | N
| WQI | 36 | 0 | 0.764 | N
47 | pH | 78 | 0.086 | 3.424 | Y | *
| DO | 78 | 0.231 | 1.924 | N
| Temp | 78 | -0.142 | -0.643 | N
| Turb | 78 | -0.325 | -0.748 | N
| FC | 77 | 0 | -0.62 | N
| NH3 | 39 | 0.01 | 1.921 | N
| TKN | 39 | 0 | -0.385 | N
| TP | 39 | 0 | -0.602 | N
| WQI | N/A
48 | pH | 78 | 0.054 | 2.372 | Y | *
| DO | 78 | 0.164 | 1.8 | N
| Temp | 78 | -0.34 | -1.57 | N
| Turb | 78 | 0.322 | 1.711 | N
| FC | 76 | 0 | 0.514 | N
| NH3 | 39 | 0.01 | 1.862 | N
| TKN | 39 | 0 | -0.21 | N
| TP | 39 | 0 | -0.112 | N
| WQI | 36 | 0 | 0.387 | N
58

## Sheet2
Trends summary
Site | Parameter | N | Slope | Z | Significant?
3 | pH | 77 | 0.059 | 2.918 | Y | *
4 | pH | 77 | 0.056 | 2.005 | Y | *
| DO | 78 | 0.208 | 2.138 | Y | *
| Turb | 78 | 3.448 | 2.886 | Y | *
| FC | 77 | 182.5 | 2.753 | Y | *
| NH3 | 39 | 0.022 | 2.708 | Y | *
6 | DO | 78 | 0.241 | 2.193 | Y | *
8 | pH | 77 | 0.093 | 4.293 | Y | *
| DO | 78 | 0.358 | 2.655 | Y | *
11 | pH | 77 | 0.041 | 2.169 | Y | *
| Turb | 78 | -0.515 | -3.1 | Y | *
| NH3 | 39 | 0.009 | 2.223 | Y | *
12 | pH | 78 | 0.079 | 4.307 | Y | *
13 | pH | 78 | 0.067 | 3.193 | Y | *
| DO | 78 | 0.358 | 2.853 | Y | *
14 | pH | 77 | 0.052 | 2.113 | Y | *
15 | pH | 78 | 0.093 | 5.219 | Y | *
16 | pH | 78 | 0.08 | 2.908 | Y | *
| FC | 78 | -8.006 | -2.548 | Y | *
17 | pH | 78 | 0.091 | 2.698 | Y | *
18 | pH | 78 | 0.066 | 3.446 | Y | *
19 | pH | 77 | 0.093 | 2.988 | Y | *
20 | pH | 77 | 0.104 | 3.971 | Y | *
| DO | 78 | 0.316 | 3.064 | Y | *
| FC | 77 | 9.244 | 1.995 | Y | *
21 | pH | 65 | 0.088 | 3.277 | Y | *
22 | pH | 77 | 0.15 | 4.262 | Y | *
23 | pH | 74 | 0.108 | 2.97 | Y | *
24 | pH | 77 | 0.051 | 3.6 | Y | *
| FC | 76 | -8.329 | -3.199 | Y | *
25 | pH | 67 | 0.129 | 3.033 | Y | *
28 | Turb | 59 | 1.093 | 3.066 | Y | *
29 | Turb | 78 | -2.542 | -3.385 | Y | *
30 | pH | 76 | 0.098 | 3.998 | Y | *
| Turb | 77 | -1.486 | -2.008 | Y | *
34 | pH | 76 | 0.128 | 2.979 | Y | *
35 | pH | 69 | 0.063 | 2.513 | Y | *
| Turb | 71 | 8.258 | 3.468 | Y | *
| NH3 | 36 | 0.168 | 2.921 | Y | *
| TKN | 36 | 0.193 | 2.509 | Y | *
36 | DO | 77 | -0.517 | -2.234 | Y | *
37 | DO | 77 | -0.731 | -1.984 | Y | *
| NH3 | 39 | 0.293 | 2.412 | Y | *
38 | DO | 72 | -0.573 | -2.03 | Y | *
39 | pH | 77 | 0.077 | 2.824 | Y | *
40 | pH | 75 | 0.09 | 4.845 | Y | *
41 | Turb | 78 | 1.7 | 3.456 | Y | *
| FC | 78 | 20.08 | 2.868 | Y | *
42 | pH | 77 | 0.08 | 5.185 | Y | *
| DO | 77 | 0.434 | 2.752 | Y | *
43 | Turb | 78 | 1.152 | 2.316 | Y | *
45 | pH | 76 | 0.1 | 3.826 | Y | *
| Turb | 76 | -2.265 | -3.029 | Y | *
46 | pH | 77 | 0.042 | 1.987 | Y | *
| Turb | 77 | -2.542 | -3.294 | Y | *
47 | pH | 78 | 0.086 | 3.424 | Y | *
48 | pH | 78 | 0.054 | 2.372 | Y | *
57

## Sheet3
Site No. | Parameter | N | Slope | Z | Improving Trends | Deleterious Trends
3 | pH | 77 | 0.059 | 2.918
4 | pH | 77 | 0.056 | 2.005
| Fecal coliform | 77 | 182.5 | 2.753 |  | Increasing fecal coliform
| Dissolved oxygen | 78 | 0.208 | 2.138 | Increasing dissolved oxygen
| Turbidity | 78 | 3.448 | 2.886 |  | Increasing turbidity
| Ammonia | 39 | 0.022 | 2.708 |  | Increasing ammonia
6 | Dissolved oxygen | 78 | 0.241 | 2.193 | Increasing dissolved oxygen
8 | pH | 77 | 0.093 | 4.293
| Dissolved oxygen | 78 | 0.358 | 2.655 | Increasing dissolved oxygen
11 | pH | 77 | 0.041 | 2.169
| Turbidity | 78 | -0.515 | -3.1 | Decreasing turbidity
| Ammonia | 39 | 0.009 | 2.223 |  | Increasing ammonia
12 | pH | 78 | 0.079 | 4.307
13 | pH | 78 | 0.067 | 3.193
| Dissolved oxygen | 78 | 0.358 | 2.853 | Increasing dissolved oxygen
14 | pH | 77 | 0.052 | 2.113
15 | pH | 78 | 0.093 | 5.219
16 | pH | 78 | 0.08 | 2.908
| Fecal coliform | 78 | -8.006 | -2.548 | Decreasing fecal coliform
17 | pH | 78 | 0.091 | 2.698
18 | pH | 78 | 0.066 | 3.446
19 | pH | 77 | 0.093 | 2.988
20 | pH | 77 | 0.104 | 3.971
| Dissolved oxygen | 78 | 0.316 | 3.064 | Increasing dissolved oxygen
| Fecal coliform | 77 | 9.244 | 1.995 |  | Increasing fecal coliform
21 | pH | 65 | 0.088 | 3.277
22 | pH | 77 | 0.15 | 4.262
23 | pH | 74 | 0.108 | 2.97
24 | pH | 77 | 0.051 | 3.6
| Fecal coliform | 76 | -8.329 | -3.199 | Decreasing fecal coliform
25 | pH | 67 | 0.129 | 3.033
28 | Turbidity | 59 | 1.093 | 3.066 |  | Increasing turbidity
29 | Turbidity | 78 | -2.542 | -3.385 | Decreasing turbidity
30 | pH | 76 | 0.098 | 3.998
| Turbidity | 77 | -1.486 | -2.008 | Decreasing turbidity
34 | pH | 76 | 0.128 | 2.979
35 | pH | 69 | 0.063 | 2.513
| Turbidity | 71 | 8.258 | 3.468
| Ammonia | 36 | 0.168 | 2.921 |  | Increasing ammonia
| TKN | 36 | 0.193 | 2.509
36 | Dissolved oxygen | 77 | -0.517 | -2.234 |  | Decreasing dissolved oxygen
37 | Dissolved oxygen | 77 | -0.731 | -1.984 |  | Decreasing dissolved oxygen
| Ammonia | 39 | 0.293 | 2.412 |  | Increasing ammonia
38 | Dissolved oxygen | 72 | -0.573 | -2.03 |  | Decreasing dissolved oxygen
39 | pH | 77 | 0.077 | 2.824
40 | pH | 75 | 0.09 | 4.845
41 | Turbidity | 78 | 1.7 | 3.456 |  | Increasing turbidity
| Fecal coliform | 78 | 20.08 | 2.868 |  | Increasing fecal coliform
42 | pH | 77 | 0.08 | 5.185
| Dissolved oxygen | 77 | 0.434 | 2.752 | Increasing dissolved oxygen
43 | Turbidity | 78 | 1.152 | 2.316 |  | Increasing turbidity
45 | pH | 76 | 0.1 | 3.826
| Turbidity | 76 | -2.265 | -3.029 | Decreasing turbidity
46 | pH | 77 | 0.042 | 1.987
| Turbidity | 77 | -2.542 | -3.294 | Decreasing turbidity
47 | pH | 78 | 0.086 | 3.424
48 | pH | 78 | 0.054 | 2.372
[5 empty] | 13 | 14
[5 empty] | 7 ag | 11 ag