## Pollutants and Petrol Package
Priority Pollutants Package
Analyte | Method† | Practical Quantitation Limit | Unit Price
Antimony | EPA 200.7 | 0.025 mg/L
Arsenic | EPA 200.7 | 0.025 mg/L
Beryllium | EPA 200.7 | 0.005 mg/L
Cadmium | EPA 200.7 | 0.005 mg/L
Chromium | EPA 200.7 | 0.005 mg/L
Copper | EPA 200.7 | 0.005 mg/L
Lead | EPA 200.8 | 0.001 mg/L
Mercury | EPA 245.1 | 0.0005 mg/L
Nickel | EPA 200.7 | 0.010 mg/L
Selenium | EPA 200.7 | 0.025 mg/L
Silver | EPA 200.7 | 0.010 mg/L
Thallium | EPA 200.7 | 0.010 mg/L
Zinc | EPA 200.8 | 0.05 mg/L
Total Package Cost |  |  | 0
† As listed or equivalent

## Drinking Water Packages
Drinking Water Package #1
Analyte | Method | Practical Quantitation Limit | Unit Price
Arsenic | EPA 200.8 | 0.001 mg/L
Chloride | EPA 300.0 | 0.5 mg/L
Conductivity | SM 2510 B | 10 uS/cm
Nitrate-N | EPA 300.0 | 0.1 mg/L
pH | SM 4500-H+ B | ________
Sodium | EPA 200.7 | 1 mg/L
Turbidity | SM 2130 B | 0.10 NTU
Total Package Cost |  |  | 0
Drinking Water Package #2
Analyte | Method | Practical Quantitation Limit | Unit Price
Antimony | EPA 200.8 | 0.001 mg/L
Arsenic | EPA 200.8 | 0.001 mg/L
Barium | EPA 200.8 | 0.001 mg/L
Chloride | EPA 300.0 | 0.5 mg/L
Chromium | EPA 200.8 | 0.010 mg/L
Conductivity | SM 2510 B | 10 uS/cm
Fluoride | EPA 300.0 | 0.10 mg/L
Hardness | EPA 200.7 | 10 mg/L as CaCO3
Iron | EPA 200.7 | 0.05 mg/L
Lead | EPA 200.8 | 0.001 mg/L
Manganese | EPA 200.8 | 0.001 mg/L
Mercury | EPA 245.1 | 0.0002 mg/L
Nitrate-N | EPA 300.0 | 0.1 mg/L
pH | SM 4500-H+ B | ________
Selenium | EPA 200.8 | 0.005 mg/L
Sodium | EPA 200.7 | 1 mg/L
Total Dissolved Solids | SM 2540 C | 20 mg/L
Turbidity | SM 2130 B | 0.10 NTU
Total Package Cost |  |  | 0

## IOC-WAC 246-290-310
WAC 246-290-310 Package #1
Analyte | Method† | Practical Quantitation Limit | Unit Price
Antimony | EPA 200.8 | 0.001 mg/L
Arsenic | EPA 200.8 | 0.001 mg/L
Asbestos | EPA 100.2 | 0.098 MF/L, >10um
Barium | EPA 200.8 | 0.001 mg/L
Beryllium | EPA 200.8 | 0.001 mg/L
Cadmium | EPA 200.8 | 0.001 mg/L
Chromium | EPA 200.8 | 0.010 mg/L
Copper | EPA 200.8 | 0.005 mg/L
Cyanide | SM 4500-CN F | 0.040 mg/L
Fluoride | EPA 300.0 | 0.10 mg/L
Lead | EPA 200.8 | 0.001 mg/L
Mercury | EPA 245.1 | 0.0002 mg/L
Nickel | EPA 200.8 | 0.001 mg/L
Nitrate-N | EPA 300.0 | 0.1 mg/L
Nitrite-N | EPA 300.0 | 0.1 mg/L
Selenium | EPA 200.8 | 0.005 mg/L
Sodium | EPA 200.7 | 0.5 mg/L
Thallium | EPA 200.8 | 0.001 mg/L
Total Package Cost |  |  | 0
WAC 246-290-310 Package #2
Analyte | Method† | Practical Quantitation Limit | Unit Price
Chloride | EPA 300.0 | 0.5 mg/L
Fluoride | EPA 300.0 | 0.10 mg/L
Iron | EPA 200.7 | 0.05 mg/L
Manganese | EPA 200.8 | 0.001 mg/L
Silver | EPA 200.8 | 0.001 mg/L
Sulfate | EPA 300.0 | 0.2 mg/L
Zinc | EPA 200.8 | 0.05 mg/L
Total Package Cost |  |  | 0
WAC 246-290-310 Package #3
Analyte | Method† | Practical Quantitation Limit | Unit Price
Color | SM 2120 B | 5 Color Units
Specific Conductivity | SM 2510 B | 10 uS/cm
Total Dissolved Solids (TDS) | SM 2540 C | 20 mg/L
Total Package Cost |  |  | 0
WAC 246-290-310 Package #4
Analyte | Method† | Practical Quantitation Limit | Unit Price
Bromate | EPA 317 | 0.5 ug/L
Chlorite | EPA 300.1 | 0.50 mg/L
Haloacetic acids (five) (HAA5) | EPA 552.2 | 1 ug/L
Total Trihalomethanes (TTHMs) | EPA 524.2 | 0.4 ug/L
Total Package Cost |  |  | 0
WAC 246-290-310 Package #5
Analyte | Method† | Practical Quantitation Limit | Unit Price
Chlorine | SM 4500-Cl G | 0.02 mg/L
Chloramines | SM 4500-Cl G | 0.02 mg/L
Chlorine Dioxide | SM 4500-ClO2-D | 0.1 mg/L
Total Package Cost |  |  | 0
† As listed or equivalent

## IOC-WAC 246-291-330
WAC 246-291-330 Package #1
Analyte | Method† | Practical Quantitation Limit | Unit Price
Antimony | EPA 200.8 | 0.001 mg/L
Arsenic | EPA 200.8 | 0.001 mg/L
Barium | EPA 200.8 | 0.001 mg/L
Beryllium | EPA 200.8 | 0.001 mg/L
Cadmium | EPA 200.8 | 0.001 mg/L
Chromium | EPA 200.8 | 0.005 mg/L
Cyanide | SM 4500-CN F | 0.040 mg/L
Fluoride | EPA 300.0 | 0.10 mg/L
Mercury | EPA 245.1 | 0.0005 mg/L
Nickel | EPA 200.8 | 0.001 mg/L
Nitrate-N | EPA 300.0 | 0.1 mg/L
Nitrite-N | EPA 300.0 | 0.1 mg/L
Selenium | EPA 200.8 | 0.005 mg/L
Sodium | EPA 200.7 | 0.5 mg/L
Thallium | EPA 200.8 | 0.001 mg/L
Total Package Cost |  |  | 0
WAC 246-291-330 Package #2
Analyte | Method† | Practical Quantitation Limit | Unit Price
Chloride | EPA 300.0 | 0.2 mg/L
Fluoride | EPA 300.0 | 0.1 mg/L
Iron | EPA 200.7 | 0.05 mg/L
Manganese | EPA 200.8 | 0.001 mg/L
Silver | EPA 200.8 | 0.001 mg/L
Sulfate | EPA 300.0 | 0.2 mg/L
Zinc | EPA 200.8 | 0.05 mg/L
Total Package Cost |  |  | 0
WAC 246-291-330 Package #3
Analyte | Method† | Practical Quantitation Limit | Unit Price
Turbidity | SM 2130 B | 0.10 NTU
Color | SM 2120 B | 5 Color Units
Hardness | EPA 200.7 | 10 mg/L as CaCO3
Specific Conductivity | SM 2510 B | 10 uS/cm
Total Dissolved Solids (TDS) | SM 2540 C | 20 mg/L
Total Package Cost |  |  | 0
† As listed or equivalent

## VOC Package
VOC Package
Analyte | Method | Practical Quantitation Limit |  | Unit Price
1,1,1,2-tetrachloroethane | EPA 8260B | 0.4 | µg/L
1,1,1-trichloroethane | EPA 8260B | 0.4 | µg/L
1,1,2,2-tetrachloroethane | EPA 8260B | 0.4 | µg/L
1,1,2-trichloroethane | EPA 8260B | 0.4 | µg/L
1,1,2-trichlorofluorotoluene (Freon-113) | EPA 8260B | 0.4 | µg/L
1,1-dichloroethane | EPA 8260B | 0.4 | µg/L
1,1-dichloroethene | EPA 8260B | 0.4 | µg/L
1,1-dichloropropene | EPA 8260B | 0.4 | µg/L
1,2,3-trichlorobenzene | EPA 8260B | 0.4 | µg/L
1,2,3-trichloropropane | EPA 8260B | 0.4 | µg/L
1,2,4-trichlorobenzene | EPA 8260B | 0.4 | µg/L
1,2,4-trimethylbenzene | EPA 8260B | 0.4 | µg/L
1,2-dibromo-3-chloropropane (DBCP) | EPA 8260B | 1 | µg/L
1,2-dichlorobenzene | EPA 8260B | 0.4 | µg/L
1,2-dichloroethane | EPA 8260B | 0.4 | µg/L
1,2-dichloropropane | EPA 8260B | 0.4 | µg/L
1,3,5-trimethylbenzene | EPA 8260B | 0.4 | µg/L
1,3-dichloropropane | EPA 8260B | 0.4 | µg/L
1,4-dichlorobenzene | EPA 8260B | 0.4 | µg/L
2,2-dichloropropane | EPA 8260B | 0.4 | µg/L
2-butanone | EPA 8260B | 2 | µg/L
2-chloroethyl vinyl ether | EPA 8260B | 0.1 | µg/L
2-chlorotoluene | EPA 8260B | 0.4 | µg/L
2-nitropropane | EPA 8260B | 10 | µg/L
2-phenylbutane | EPA 8260B | 0.4 | µg/L
4-chlorotoluene | EPA 8260B | 0.4 | µg/L
4-methyl-2-pentanone | EPA 8260B | 4 | µg/L
Acetone | EPA 8260B | 3 | µg/L
Acrolein | EPA 8260B | 4 | µg/L
Acrylonitrile | EPA 8260B | 1 | µg/L
Allyl chloride | EPA 8260B | 2 | µg/L
Benzene | EPA 8260B | 0.4 | µg/L
Bromobenzene | EPA 8260B | 0.4 | µg/L
Bromodichloromethane | EPA 8260B | 0.4 | µg/L
Bromomethane | EPA 8260B | 0.4 | µg/L
Carbon disulfide | EPA 8260B | 0.4 | µg/L
Carbon tetrachloride | EPA 8260B | 0.4 | µg/L
Chlorobenzene | EPA 8260B | 0.4 | µg/L
Chlorobromomethane | EPA 8260B | 0.4 | µg/L
Chlorodibromomethane | EPA 8260B | 0.4 | µg/L
Chlorodifluoromethane (Freon-22) | EPA 8260B | 0.4 | µg/L
Chloroethane | EPA 8260B | 0.4 | µg/L
Chloroform | EPA 8260B | 0.4 | µg/L
Chloromethane | EPA 8260B | 0.4 | µg/L
cis-1,2-dichloroethene | EPA 8260B | 0.4 | µg/L
cis-1,3-dichloropropene | EPA 8260B | 0.4 | µg/L
Cymene | EPA 8260B | 0.4 | µg/L
Dibromomethane | EPA 8260B | 0.4 | µg/L
Dichlorodifluoromethane (CFC-12) | EPA 8260B | 0.4 | µg/L
Dichloromethane | EPA 8260B | 0.4 | µg/L
Dichloromonofluoromethane (Freon-21) | EPA 8260B | 0.4 | µg/L
Diethyl ether | EPA 8260B | 0.4 | µg/L
Ethyl methacrylate | EPA 8260B | 2 | µg/L
Ethylbenzene | EPA 8260B | 0.4 | µg/L
Hexachloro-1,3-butadiene | EPA 8260B | 0.4 | µg/L
Hexachloroethane | EPA 8260B | 0.4 | µg/L
Isopropylbenzene | EPA 8260B | 0.4 | µg/L
m+p-xylene | EPA 8260B | 0.4 | µg/L
m-dichlorobenzene | EPA 8260B | 0.4 | µg/L
Methyl acrylate | EPA 8260B | 0.8 | µg/L
Methyl iodide | EPA 8260B | 5 | µg/L
Methyl methacrylate | EPA 8260B | 1 | µg/L
Methyl n-butyl ketone | EPA 8260B | 5 | µg/L
Methyl tert-butyl ether | EPA 8260B | 1 | µg/L
Methylacrylonitrile | EPA 8260B | 4 | µg/L
Naphthalene | EPA 8260B | 1 | µg/L
n-butyl chloride | EPA 8260B | 0.4 | µg/L
n-butylbenzene | EPA 8260B | 0.4 | µg/L
n-propylbenzene | EPA 8260B | 0.4 | µg/L
o-xylene | EPA 8260B | 0.4 | µg/L
Pentachloroethane | EPA 8260B | 0.4 | µg/L
Styrene (monomer) | EPA 8260B | 0.4 | µg/L
Tert-butylbenzene | EPA 8260B | 0.4 | µg/L
Tetrachloroethene | EPA 8260B | 0.4 | µg/L
Tetrahydrofuran | EPA 8260B | 3 | µg/L
Toluene | EPA 8260B | 0.4 | µg/L
Trans-1,2-dichloroethene | EPA 8260B | 0.4 | µg/L
Trans-1,3-dichloropropene | EPA 8260B | 0.4 | µg/L
Trans-1,4-dichlorobutene | EPA 8260B | 5 | µg/L
Tribromomethane (Bromoform) | EPA 8260B | 0.4 | µg/L
Trichloroethene | EPA 8260B | 0.4 | µg/L
Trichlorofluoromethane (CFC-11) | EPA 8260B | 0.4 | µg/L
Vinyl Chloride | EPA 8260B | 0.4 | µg/L
Total Package Cost |  |  |  | 0

## Low Level VOC Package
Low-level VOC Package
Analyte | Method | Practical Quantitation Limit | Unit Price
1,2-Dibromoethane | EPA 8260 SIM | 0.01 ug/L
1,4-Dioxane | EPA 8260 SIM | 5 ug/L
Acrylonitrile | EPA 8260 SIM | 0.05 ug/L
Vinyl Chloride | EPA 8260 SIM | 0.01 ug/L
Total Package Cost |  |  | 0

## Landfill Packages
Landfill Package - Gibralter
Analyte | Method† | Practical Quantitation Limit | Unit Price
Alkalinity | SM2320 D | 5 mg/L
Ammonia | SM 4500-NH3 G | 0.05 mg/L
Bicarbonate | SM2320 B | 5 mg/L
Chloride | EPA 300.0 | 0.5 mg/L
Chemical Oxygen Demand | SM5220 D | 10 mg/L
Nitrate-N | EPA 300.0 | 0.1 mg/L
Nitrite-N | EPA 300.0 | 0.1 mg/L
Sulfate | EPA 300.0 | 10 mg/L
Total Organic Carbon | SM 5310 B | 0.5 mg/L
Total Dissolved Solids | SM 2540 C | 20 mg/L
Arsenic, dissolved | EPA 200.8/Field Filtered | 0.025 mg/L
Barium, dissolved | EPA 200.8/Field Filtered | 0.001 mg/L
Chromium, dissolved | EPA 200.8/Field Filtered | 0.005 mg/L
Copper, dissolved | EPA 200.8/Field Filtered | 0.005 mg/L
Iron, dissolved | EPA 200.7/Field Filtered | 0.050 mg/L
Manganese, dissolved | EPA 200.7/Field Filtered | 0.005 mg/L
Selenium, dissolved | EPA 200.8/Field Filtered | 0.005 mg/L
Vanadium, dissolved | EPA 200.8/Field Filtered | 0.002 mg/L
Zinc, dissolved | EPA 200.8/Field Filtered | 0.005 mg/L
Calcium | EPA 200.7 | 0.5 mg/L
Magnesium | EPA 200.7 | 0.5 mg/L
Potassium | EPA 200.7 | 0.5 mg/L
Sodium | EPA 200.7 | 0.5 mg/L
VOC Package | EPA 8260B | various
Low Level VOC Package | EPA 8260B SIM | various
Total Package Cost |  |  | 0
Landfill Package - Sauk
Analyte | Method† | Practical Quantitation Limit | Unit Price
Alkalinity | SM2320 D | 5 mg/L
Ammonia | SM 4500-NH3 G | 0.05 mg/L
Bicarbonate | SM2320 B | 5 mg/L
Chloride | EPA 300.0 | 0.5 mg/L
Chemical Oxygen Demand | SM5220 D | 10 mg/L
Nitrate-N | EPA 300.0 | 0.1 mg/L
Nitrite-N | EPA 300.0 | 0.1 mg/L
Sulfate | EPA 300.0 | 10 mg/L
Total Organic Carbon | SM 5310 B | 0.5 mg/L
Total Dissolved Solids | SM 2540 C | 20 mg/L
Barium, dissolved | EPA 200.8/Field Filtered | 0.001 mg/L
Iron, dissolved | EPA 200.7/Field Filtered | 0.050 mg/L
Manganese, dissolved | EPA 200.7/Field Filtered | 0.005 mg/L
Vanadium, dissolved | EPA 200.8/Field Filtered | 0.002 mg/L
Zinc, dissolved | EPA 200.8/Field Filtered | 0.005 mg/L
Calcium | EPA 200.7 | 0.5 mg/L
Magnesium | EPA 200.7 | 0.5 mg/L
Potassium | EPA 200.7 | 0.5 mg/L
Sodium | EPA 200.7 | 0.5 mg/L
VOC Package | EPA 8260B | various
Low Level VOC Package | EPA 8260B SIM | various
Total Package Cost |  |  | 0
Landfill Package - Sauk 2
Analyte | Method† | Practical Quantitation Limit | Unit Price
Alkalinity | SM2320 D | 5 mg/L
Ammonia | SM 4500-NH3 G | 0.05 mg/L
Bicarbonate | SM2320 B | 5 mg/L
Chloride | EPA 300.0 | 0.5 mg/L
Chemical Oxygen Demand | SM5220 D | 10 mg/L
Nitrate-N | EPA 300.0 | 0.1 mg/L
Nitrite-N | EPA 300.0 | 0.1 mg/L
Sulfate | EPA 300.0 | 10 mg/L
Total Organic Carbon | SM 5310 B | 0.5 mg/L
Total Dissolved Solids | SM 2540 C | 20 mg/L
Iron, dissolved | EPA 200.7/Field Filtered | 0.050 mg/L
Manganese, dissolved | EPA 200.7/Field Filtered | 0.005 mg/L
Calcium | EPA 200.7 | 0.5 mg/L
Magnesium | EPA 200.7 | 0.5 mg/L
Potassium | EPA 200.7 | 0.5 mg/L
Sodium | EPA 200.7 | 0.5 mg/L
VOC Package | EPA 8260B | various
Low Level VOC Package | EPA 8260B SIM | various
Total Package Cost |  |  | 0
Landfill Package - Inman
Analyte | Method† | Practical Quantitation Limit | Unit Price
Alkalinity | SM2320 D | 5 mg/L
Ammonia | SM 4500-NH3G | 0.05 mg/L
Bicarbonate | SM2320 B | 5 mg/L
Chloride | EPA 300.0 | 0.5 mg/L
Chemical Oxygen Demand | SM5220 D | 10 mg/L
Nitrate-N | EPA 300.0 | 0.10 mg/L
Nitrite-N | EPA 300.0 | 0.10 mg/L
Sulfate | EPA 300.0 | 10 mg/L
Total Dissolved Solids | SM 2540 C | 20 mg/L
Total Organic Carbon | SM5310 B | 0.50 mg/L
Antimony, dissolved | EPA 200.8/Field Filtered | 0.001 mg/L
Arsenic, dissolved | EPA 200.8/Field Filtered | 0.001 mg/L
Barium, dissolved | EPA 200.8/Field Filtered | 0.001 mg/L
Cadmium, dissolved | EPA 200.8/Field Filtered | 0.001 mg/L
Chromium, dissolved | EPA 200.8/Field Filtered | 0.005 mg/L
Cobalt, dissolved | EPA 200.8/Field Filtered | 0.001 mg/L
Copper, dissolved | EPA 200.8/Field Filtered | 0.005 mg/L
Iron, dissolved | EPA 200.7/Field Filtered | 0.050 mg/L
Lead, dissolved | EPA 200.8/Field Filtered | 0.001 mg/L
Manganese, dissolved | EPA 200.7/Field Filtered | 0.001 mg/L
Mercury, dissolved | EPA 245.1/Field Filtered | 0.0002 mg/L
Nickel, dissolved | EPA 200.8/Field Filtered | 0.001 mg/L
Selenium, dissolved | EPA 200.8/Field Filtered | 0.005 mg/L
Vanadium, dissolved | EPA 200.8/Field Filtered | 0.002 mg/L
Zinc, dissolved | EPA 200.8/Field Filtered | 0.005 mg/L
Calcium | EPA 200.7 | 0.5 mg/L
Magnesium | EPA 200.7 | 0.5 mg/L
Potassium | EPA 200.7 | 0.5 mg/L
Sodium | EPA 200.7 | 1 mg/L
VOC Package | EPA 8260 B | various
Low Level VOC Package | EPA 8260B SIM | various
Gamma Spectral Analysis | 901.1
Total Package Cost with Gamma Spectral Analysis |  |  | 0
Total Package Cost without Gamma Spectral Analysis |  |  | 0
Landfill Package #3
Analyte | Method† | Method Detection Limit | Unit Price
Alkalinity | SM 2320 B, EPA 310.1 | 5 mg/L
Ammonia | SM4500-NH3G | 0.05 mg/L
Bicarbonate | SM2320B | 5 mg/L
Chloride | EPA 300 | 0.5 mg/L
Chemical Oxygen Demand | SM 5220 D | 8 mg/L
Nitrate-N | EPA 300 | 0.1 mg/L
Nitrite-N | EPA 300 | 0.1 mg/L
Sulfate | EPA 300 | 0.2 mg/L
Total Dissolved Solids | SM 2540 C | 10 mg/L
Total Organic Carbon | SM 5310 B | 0.5 mg/L
Antimony, dissolved | EPA 6020, EPA 200.8 | 0.001 mg/L
Arsenic, dissolved | EPA 200.8 | 0.001 mg/L
Barium, dissolved | EPA 6020 | 0.001 mg/L
Beryllium, dissolved | EPA 6020 | 0.001 mg/L
Cadmium, dissolved | EPA 200.8 | 0.0005 mg/L
Chromium, dissolved | EPA 6020 | 0.005 mg/L
Cobalt, dissolved | EPA 6020 | 0.001 mg/L
Copper, dissolved | EPA 6020 | 0.005 mg/L
Iron, dissolved | EPA 200.7 | 0.05 mg/L
Lead, dissolved | EPA 200.8 | 0.001 mg/L
Manganese, dissolved | EPA 200.7 | 0.005 mg/L
Mercury, dissolved | EPA 245.1 | 0.0005 mg/L
Nickel, dissolved | EPA 6020 | 0.001 mg/L
Selenium, dissolved | EPA 6020 | 0.005 mg/L
Silver, dissolved | EPA 6020 | 0.001 mg/L
Thallium, dissolved | EPA 6020 | 0.001 mg/L
Vanadium, dissolved | EPA 6010 B | 0.010 mg/L
Zinc, dissolved | EPA 200.8 | 0.005 mg/L
Calcium | EPA 6010 B | 0.020 mg/L
Magnesium | EPA 6010 B | 0.5 mg/L
Potassium | EPA 6010 B | 0.5 mg/L
Sodium | EPA 6010 B | 0.025 mg/L
VOC Package | EPA 8260 B | various
Low Level VOC Package | EPA 8260B SIM | various
Gamma Spectral Analysis | 901.1
Total Package Cost with Gamma Spectral Analysis |  |  | 0
Total Package Cost without Gamma Spectral Analysis |  |  | 0
Landfill Package - Sinnes
Analyte | Method† | Practical Quantitation Limit | Unit Price
Alkalinity | SM2320 D | 5 mg/L
Ammonia | SM 4500-NH3 G | 0.05 mg/L
Bicarbonate | SM2320 B | 5 mg/L
Chloride | EPA 300.0 | 0.5 mg/L
Chemical Oxygen Demand | SM5220 D | 10 mg/L
Nitrate-N | EPA 300.0 | 0.1 mg/L
Nitrite-N | EPA 300.0 | 0.1 mg/L
Sulfate | EPA 300.0 | 10 mg/L
Total Organic Carbon | SM 5310 B | 0.5 mg/L
Total Dissolved Solids | SM 2540 C | 20 mg/L
Barium, dissolved | EPA 200.8/Field Filtered | 0.001 mg/L
Iron, dissolved | EPA 200.7/Field Filtered | 0.050 mg/L
Manganese, dissolved | EPA 200.7/Field Filtered | 0.005 mg/L
Vanadium, dissolved | EPA 200.8/Field Filtered | 0.002 mg/L
Zinc, dissolved | EPA 200.8/Field Filtered | 0.005 mg/L
Calcium | EPA 200.7 | 0.5 mg/L
Magnesium | EPA 200.7 | 0.5 mg/L
Potassium | EPA 200.7 | 0.5 mg/L
Sodium | EPA 200.7 | 0.5 mg/L
VOC Package | EPA 8260B | various
Low Level VOC Package | EPA 8260B SIM | various
Total Package Cost |  |  | 0
† As listed or equivalent

## Leachate Packages
Leachate Package #1
Analyte | Method† | Practical Quantitation Limit
Biological Oxygen Demand | SM5210 B | 1 mg/L
Oil and Grease | EPA 1664 | 2.5 mg/L
pH | SM4500-H+ B | NA
Total Suspended Solids | SM2540 D | 4 mg/L
Total Package Cost |  |  | 0

## Surface Water Packages
Surface Water Package #2
Analyte | Method† | Practical Quantitation Limit | Unit Price
Ammonia | EPA 350.3 | 0.02 mg/L
Fecal Coliform | SM9221 E/MTF | 2 MPN/100 mL
Nitrate-N | EPA 300.0 | 0.1 mg/L
Nitrite-N | EPA 300.0 | 0.1 mg/L
Ortho-Phosphate | SM4500-P F | 0.01 mg/L
Phosphorous | EPA 365.1 | 0.01 mg/L
Total Kjeldahl Nitrogen | SM4500-Norg C | 0.5 mg/L
Total Suspended Solids | SM 2540 D | 4 mg/L
Total Package Cost |  |  | 0
Surface Water Package #3
Analyte | Method† | Practical Quantitation Limit | Unit Price
Nitrate+Nitrite (NO2, NO3) | EPA 300 | 0.1 mg/L
Ortho-Phosphate | SM4500-P F | 0.01 mg/L
Phosphorous | EPA 365.1 | 0.01 mg/L
Total Kjeldahl Nitrogen | SM4500-NorgC | 0.5 mg/L
Total Package Cost |  |  | 0
Fecal Pollution Package (FPP)
Analyte | Method† | Practical Quantitation Limit | Unit Price
E. Coli | SM9221F | <2 MPN/100mL
Fecal Coliform (MPN) | SM9221 E/MTF | 2 MPN/100 mL
Total Package Cost |  |  | 0
FPP + Nutrient
Analyte | Method† | Practical Quantitation Limit | Unit Price
Ammonia | EPA 350.3 | 0.02 mg/L
Fecal Coliform/E. coli combo | SM9221 F/E/MTF | 2 MPN/100 mL
Nitrate-N | EPA 300.0 | 0.1 mg/L
Nitrite-N | EPA 300.0 | 0.1 mg/L
Ortho-Phosphate | SM4500-P F | 0.01 mg/L
Phosphorous | EPA 365.1 | 0.01 mg/L
Total Kjeldahl Nitrogen | SM4500-Norg C | 0.5 mg/L
Total Suspended Solids | SM 2540 D | 4 mg/L
Total Package Cost |  |  | 0
† As listed or equivalent

## Cyanobacteria Packages
Cyanobacteria #1 Package
Analyte | Method† | Practical Quantitation Limit | Unit Price
Phosphorous | EPA 365.1 | 0.01 mg/L
Chlorphyll-a | SM10200H | NA
Total Package Cost |  |  | 0
Cyanobacteria #2 Package
Analyte | Method† | Practical Quantitation Limit | Unit Price
Nitrate+Nitrite (NO2, NO3) | EPA 300 | 0.1 mg/L
Ortho-Phosphate | SM4500-P F | 0.01 mg/L
Phosphorous | EPA 365.1 | 0.01 mg/L
Total Kjeldahl Nitrogen | SM4500-NorgC | 0.5 mg/L
Ammonnia | EPA 350.3 | 0.02mg/L
Chlorphyll-a | SM10200H | NA
Total Package Cost |  |  | 0

## Stormwater
Stormwater Package #1
Analyte | Method† | Practical Quantitation Limit | Unit Price
Ammonia | EPA 350.3 | 0.02 mg/L
Boron | EPA 200.7 | 0.5 mg/L
Chlorine | SM4500-Cl G | 0.02 mg/L
Fecal Coliform | SM9221 E | 2 MPN/100 mL
Fluoride | EPA 300.0 | 0.10 mg/L
Hardness | EPA 200.7 | 10 mg/L as CaCO3
Potassium | EPA 200.7 | 0.5 mg/L
Surfacants | EPA 425.1 | 0.1 mg/L
Total Package Cost |  |  | 0
Stormwater Package #2
Analyte | Method† | Practical Quantitation Limit | Unit Price
Ammonia | EPA 350.3 | 0.02 mg/L
Boron | EPA 200.7 | 0.5 mg/L
Chlorine | SM4500-Cl G | 0.02 mg/L
Conductivity | SM 2510 B | 10 uS/cm
Fecal Coliform | SM9221 E | 2 MPN/100 mL
Fluoride | EPA 300.0 | 0.10 mg/L
Hardness | EPA 200.7 | 10 mg/L as CaCO3
Herbicides | EPA 515.1, EPA 615 | Various
NWTPH-diesel in Water | NWTPH-Dx | 50 mg/L
NWTPH-gasoline/MTBE in Water | NWTPH-GX | 50 mg/L
Oil and Grease | EPA 1664 | 2.5 mg/L
Pesticides | EPA 508, EPA 608 | 0.0005 mg/L
Potassium | EPA 200.7 | 0.5 mg/L
Surfacants | EPA 425.1 | 0.1 mg/L
Total Package Cost |  |  | 0
Transfer Station Stormwater #1
Analyte | Method† | Practical Quantitation Limit | Unit Price
Copper | EPA 200.8 | 0.005 mg/L
Fecal Coliform | SM9221 E | 2 MPN/100 mL
pH | SM4500-H+ B | NA
Turbidity | SM 2130 B | 0.10 mg/L
Zinc | EPA 200.8 | 0.05 mg/L
Total Package Cost |  |  | 0
Transfer Station Stormwater #2
Analyte | Method† | Practical Quantitation Limit | Unit Price
Copper | EPA 200.8 | 0.005 mg/L
E. coli | SM9221F | <2 MPN/100mL
Fecal Coliform | SM9221 E | 2 MPN/100 mL
pH | SM4500-H+ B | NA
Turbidity | SM 2130 B | 0.10 mg/L
Zinc | EPA 200.8 | 0.05 mg/L
Total Package Cost |  |  | 0
Street Waste Package
Analyte | Method† | Practical Quantitation Limit | Unit Price
Arsenic, total | 6010B | 2 mg/Kg
Cadmium, total | 6010B | 2 mg/Kg
Chromium, total | 6010B | 2 mg/Kg
Lead, total | 6010B | 2 mg/Kg
Nickel | 6010B | 2 mg/Kg
Zinc | 6010B | 2 mg/Kg
Mercury (inorganic) | 7471A | 0.03 mg/Kg
PAHs | EPA 8270 C | 0.1 mg/Kg
TPH (Heavy Fuel Oil) | NWTPH-Dx | 100 mg/Kg
TPH (Diesel) | NWTPH-Dx | 40 mg/Kg
TPH (Gasoline) | NWTPH-Gx | 25 mg/Kg
BETX | EPA 8260 B | 0.2 mg/Kg |  | 0.1 mg/Kg for Toluene, Ethylbenzene; 0.025 mg/Kg for Benzene; 0.2 mg/Kg for Xylenes
Total Package Cost |  |  | 0
RCRA 8 + 3 Package
Analyte | Method† | Practical Quantitation Limit | Unit Price
Arsenic, total | 6010B | 2 mg/Kg
Barium | EPA 200.8 | 0.001 mg/L
Cadmium, total | 6010B | 2 mg/Kg
Chromium, total | 6010B | 2 mg/Kg
Copper | EPA 200.8 | 0.005 mg/L
Lead, total | 6010B | 2 mg/Kg
Mercury (inorganic) | 7471A | 0.03 mg/Kg
Nickel | 6010B | 2 mg/Kg
Selenium | NWTPH-Dx | 100 mg/Kg
Silver | NWTPH-Dx | 40 mg/Kg
Zinc | 6010B | 2 mg/Kg |  | † As listed or equivalent
Total Package Cost |  |  | 0
RCRA 8 + 3 Package TCLP
Analyte | Method† | Practical Quantitation Limit | Unit Price
TCLP Metals (Ni, Zn, Cu) | TCLP | 0.01 - 0.02 mg/L
RCRA 8 Metals for Solids | TCLP | 0.0005 - 0.10 mg/L
Total Package Cost |  |  | 0
Baseline Sampling Package
Analyte | Method† | Practical Quantitation Limit | Unit Price
Ammonia | EPA 350.3 | .02 mg/L
Chlorine | SM4500-Cl G | .02 mg/L
Conductivity | SM 2510 B | 10 uS/cm
Fluoride | EPA 300.0 | .1 mg/L
Hardness | EPA 200.7 | 10 mg/L as CaCO3
Pesticides | EPA 508, EPA 608 | .0005 mg/L
Fecal Coliform (MFC)\Herbicides | SM 9222 D | <1 CFU/100mL
Herbicides | EPA 515.1, EPA 615 | various
Boron | EPA 200.7 | .5 mg/L
Surfactants | EPA 425.1 | .1 mg/L
Arsenic (dissolved) | EPA 200.8 | .001 mg/L
Barium (dissolved) | EPA 200.8 | .001 mg/L
Chromium (dissolved) | EPA 200.8 | .005 mg/L
Selenium (dissolved) | EPA 200.8 | .005 mg/L
Silver (dissolved) | EPA 200.8 | .001 mg/L
Potassium | EPA 6010 B | .5 mg/L
Cadmium (dissolved) | EPA 200.8 | .001 mg/L
Lead (dissolved) | EPA 200.8 | .001 mg/L
Mercury (dissolved) | EPA 245.1 | .0002 mg/L
Copper (dissolved) | EPA 200.8 | .005mg/L
Zinc (dissolved) | EPA 200.8 | .005 mg/L
Oil and Grease | EPA 1664 | 2.5 mg/L
NWTPH- diesel in water | NWTPH-DX | 50 mg/L
NWTPH-gasoline/MTBE in water | NWTPH-GX | 50 mg/L
Fecal Coliform (MPN) | SM 9221 | <2 CFU/100mL
Nitrate-N | EPA 300 | .01 mg/L
Nitrite-N | EPA 300 | .005 mg/L
Ortho-Phosphate | EPA 300 | .1 mg/L
Total Kjeldahl Nitrogen | SM 4500 NorgC | .5 mg/L
Total Phosphorous | EPA 365.1 | .1 mg/L
Total Suspended Solids | SM 2540 D | 4 mg/L
TPH-Dx (soil) | NWTPH-Dx | 40 mg/Kg
PCBs (soil) | EPA 8082 | 1 mg/Kg
PCBs - oil (soil) | EPA 600/4-81-045 | 1 ppm
PCBs (liquid) | EPA 508, 608 | .1 mg/L
PAHs (soil) | EPA 8270 C | .1 mg/Kg
PAHs (liquid) | EPA 625 | .0001 mg/L
Total Phenols (liquid) | SM 5530 D, EPA 420.1 | .0005 mg/L
Total Package Cost |  |  | 0
Storm Event "Run-off" Sampling Package
Analyte | Method† | Practical Quantitation Limit | Unit Price
Ammonia | EPA 350.3 | .02 mg/L
Chlorine | SM4500-Cl G | .02 mg/L
Conductivity | SM 2510 B | 10 uS/cm
Fluoride | EPA 300.0 | .1 mg/L
Hardness | EPA 200.7 | 10 mg/L as CaCO3
Pesticides | EPA 508, EPA 608 | .0005 mg/L
Fecal Coliform (MFC)\Herbicides | SM 9222 D | <1 CFU/100mL
Herbicides | EPA 515.1, EPA 615 | various
Boron | EPA 200.7 | .5 mg/L
Surfactants | EPA 425.1 | .1 mg/L
Potassium | EPA 6010 B | .5 mg/L
Oil and Grease | EPA 1664 | 2.5 mg/L
NWTPH- diesel in water | NWTPH-DX | 50 mg/L
NWTPH-gasoline/MTBE in water | NWTPH-GX | 50 mg/L
Fecal Coliform | SM 9221 | <2 CFU/100mL
Nitrate-N | EPA 300 | .01 mg/L
Nitrite-N | EPA 300 | .005 mg/L
Ortho-Phosphate | EPA 300 | .1 mg/L
Total Kjeldahl Nitrogen | SM 4500 NorgC | .5 mg/L
Total Phosphorous | EPA 365.1 | .1 mg/L
Total Suspended Solids | SM 2540 D | 4 mg/L
Total Package Cost |  |  | 0
Total Solids Package
Analyte | Method† | Practical Quantitation Limit | Unit Price
Total Dissolved Solids | SM 2540 C | 20 mg/L
Total Suspended Solids | SM 2540 D | 4 mg/L
Total Package Cost |  |  | 0

## Individual Analytes - Water
Individual Analytes Tested
Analyte | Method† | Practical Quantitation Limit | Unit Price
1,1,1,2-Tetrachloroethane | EPA 8260B | 0.4 ug/L
1,1,1-Trichloroethane | EPA 8260B | 0.4 ug/L
1,1,2,2-Tetrachloroethane | EPA 8260B | 0.4 ug/L
1,1,2-Trichloroethane | EPA 8260B | 0.4 ug/L
1,1,2-Trichlorofluoroethane (Freon 113) | EPA 8260B | 0.4 ug/L
1,1-Dichloroethane | EPA 8260B | 0.4 ug/L
1,1-Dichloroethene | EPA 8260B | 0.4 ug/L
1,1-Dichloropropene | EPA 8260B | 0.4 ug/L
1,2,3-Trichlorobenzene | EPA 8260B | 0.4 ug/L
1,2,3-Trichloropropane | EPA 8260B | 0.4 ug/L
1,2,4-Trichlorobenzene | EPA 8260B | 0.4 ug/L
1,2,4-Trimethylbenzene | EPA 8260B | 0.4 ug/L
1,2-Dibromo-3-Chloropropane | EPA 8260B | 0.2 ug/L
1,2-Dibromoethane (EDB) | EPA 8260SIM | 0.001 ug/L
1,2-Dichlorobenzene | EPA 8260B | 0.4 ug/L
1,2-Dichloroethane | EPA 8260B | 0.4 ug/L
1,2-Dichloropropane | EPA 8260B | 0.4 ug/L
1,3,5-Trimethylbenzene | EPA 8260B | 0.4 ug/L
1,3-Dichloropropane | EPA 8260B | 0.4 ug/L
1,4-Dichlorobenzene | EPA 8260B | 0.4 ug/L
1,4-Dioxane | EPA 8260SIM | 5 ug/L
2,2-Dichloropropane | EPA 8260B | 0.4 ug/L
2-Butanone | EPA 8260B | 2 ug/L
2-Chloroethyl Vinyl Ether | EPA 8260B | 1 ug/L
2-Chlorotoluene | EPA 8260B | 2 ug/L
2-Nitropropane | EPA 8260B | 2 ug/L
2-Phenylbutane | EPA 8260B | 0.4 ug/L
4-Chlorotoluene | EPA 8260B | 0.4 ug/L
4-Methyl-2-Pentanone | EPA 8260B | 0.4 ug/L
Acetone | EPA 8260B | 2 ug/L
Acrolein | EPA 8260B | 4 ug/L
Acrylonitrile | EPA 8260B | 1 ug/L
Acrylonitrile | EPA 8260SIM | 0.05 ug/L
Alkalinity | SM 2320 B, EPA 310.1 | 5 mg/L
Allyl Chloride | EPA 8260B | 0.4 ug/L
Ammonia | SM 4500-NH3 G, EPA 350.3 | 0.02 mg/L
Antimony | EPA 200.7 | 0.025 mg/L
Antimony | EPA 200.8 | 0.001 mg/L
Antimony, dissolved | EPA 200.8 | 0.001 mg/L
Arsenic | EPA 200.7 | 0.025 mg/L
Arsenic | EPA 200.8 | 0.001 mg/L
Arsenic, dissolved | EPA 200.8 | 0.001 mg/L
Asbestos | EPA 100.2 | 0.098 MF/L, >10um
Barium | EPA 200.8 | 0.001 mg/L
Barium, dissolved | EPA 200.8 | 0.001 mg/L
Benzene | EPA 8260B | 0.4 ug/L
Beryllium | EPA 200.7 | 0.005 mg/L
Beryllium | EPA 200.8 | 0.001 mg/L
Beryllium, dissolved | EPA 6020 | 0.001 mg/L
BETX | EPA 624 | 0.0005 mg/L
Bicarbonate | SM 2320 B | 5 mg/L
Biological Oxygen Demand (BOD) | SM 5210 B | 1 mg/L
Boron | EPA 200.7 | 0.5 mg/L
Bromate | EPA 317 | 0.5 ug/L
Bromobenzene | EPA 8260B | 0.4 ug/L
Bromochloromethane | EPA 8260B | 0.4 ug/L
Bromodichloromethane | EPA 8260B | 0.4 ug/L
Bromoform | EPA 8260B | 0.4 ug/L
Bromomethane | EPA 8260B | 0.4 ug/L
Cadmium | EPA 200.7 | 0.005 mg/L
Cadmium | EPA 200.8 | 0.001 mg/L
Cadmium, dissolved | EPA 200.8 | 0.001 mg/L
Calcium | EPA 6010 B | 0.020 mg/L
Carbon Disulfide | EPA 8260B | 0.4 ug/L
Carbon Tetrachloride | EPA 8260B | 0.4 ug/L
Chemical Oxygen Demand (COD) | SM 5220 D | 10 mg/L
Chloramines | SM 4500-Cl G | 0.02 mg/L
Chloride | EPA 300.0 | 0.5 mg/L
Chlorine | SM 4500-Cl G | 0.02 mg/L
Chlorine Dioxide | SM 4500-ClO2-D | 0.1 mg/L
Chlorite | EPA 300.1 | 0.50 mg/L
Chlorobenzene | EPA 8260B | 0.4 ug/L
Chlorobromomethane | EPA 8260B | 0.4 ug/L
Chlorodibromomethane | EPA 8260B | 0.4 ug/L
Chlorodifluoromethane (Freon-22) | EPA 8260B | 0.4 ug/L
Chloroethane | EPA 8260B | 0.4 ug/L
Chloroform | EPA 8260B | 0.4 ug/L
Chloromethane | EPA 8260B | 0.4 ug/L
Chromium | EPA 200.7 | 0.005 mg/L
Chromium | EPA 200.8 | 0.005 mg/L
Chromium, dissolved | EPA 6020 | 0.005 mg/L
Chlorophyll | SM10200H | NA
cis-1,2-dichloroethylene | EPA 8260B | 0.4 ug/L
cis-1,3-dichloropropene | EPA 8260B | 0.4 ug/L
Cobalt, dissolved | EPA 6020 | 0.001 mg/L
Color | SM 2120 B | 5 Color Units
Conductivity | SM 2510 B | 10 uS/cm
Copper | EPA 200.7 | 0.005 mg/L
Copper | EPA 200.8 | 0.005 mg/L
Copper, dissolved | EPA 6020 | 0.005 mg/L
Cyanide | SM 4500-CN F | 0.040 mg/L
Cyanide | SM 4500-CN C | 0.005 mg/L
Cymene | EPA 8260B | 0.4 ug/L
Dibromomethane | EPA 8260B | 0.4 ug/L
Dichlorodifluoromethane (CFC-12) | EPA 8260B | 0.4 ug/L
Dichloromethane | EPA 8260B | 0.4 ug/L
Dichlorofluoromethane (Freon-21) | EPA 8260B | 0.4 ug/L
Diethyl Ether | EPA 8260B | 0.4 ug/L
Dioxin | EPA 1613 | 1 pg/L
Dissolved Organic Carbon | SM 5310C | 0.5 mg/L
Dissolved Oxygen | 360.1 | 0.5 mg/L
E. Coli | SM9221F | <2 MPN/100mL
Ethyl Methacrylate | EPA 8260B | 2 ug/L
Ethylbenzene | EPA 8260B | 0.4 ug/L
Fecal Coliform (MPN) | SM9221 E/MTF | 2 MPN/100 mL
Fecal Coliform | SM 9222 D | <1 CFU/100 mL
Fecal Streptococcus and Enterococcus Groups | SM9230B | 2 MPN/100 mL
Fluoride | EPA 300.0 | 0.10 mg/L
Gamma Spectral Analysis | EPA 901.1 | ________
Haloacetic acids (five) (HAA5) | EPA 552.2 | 1 ug/L
Hardness | EPA 200.7 | 10 mg/L as CaCO3
Herbicides | EPA 515.1, EPA 615 | Various
Hexachloro-1,3-butadiene | EPA 8260B | 0.4 ug/L
Hexachloroethane | EPA 8260B | 0.4 ug/L
Iron | EPA 200.7 | 0.05 mg/L
Iron, dissolved | EPA 200.7 | 0.05 mg/L
Isopropylbenzene | EPA 8260B | 0.4 ug/L
Lead | EPA 200.8 | 0.001 mg/L
Lead, dissolved | EPA 200.8 | 0.001 mg/L
m+p-xylene | EPA 8260B | 0.4 ug/L
m-Dichlorobenzene | EPA 8260B | 0.4 ug/L
Magnesium | EPA 6010 B | 0.5 mg/L
Manganese | EPA 200.8 | 0.001 mg/L
Manganese, dissolved | EPA 200.7 | 0.001 mg/L
Mercury | EPA 245.1 | 0.0002 mg/L
Mercury, dissolved | EPA 245.1 | 0.0002 mg/L
Methacrylonitrile | EPA 8260B | 1 ug/L
Methyl Acrylate | EPA 8260B | 0.4 ug/L
Methyl Iodide | EPA 8260B | 5 ug/L
Methyl Methacrylate | EPA 8260B | 1 ug/L
Methyl n-Butyl Ketone | EPA 8260B | 0.4 ug/L
Methyl Tert-Butyl Ether | EPA 8260B | 1 ug/L
Methylene Acrylonitrile | EPA 8260B | 0.4 ug/L
n-Butyl Chloride | EPA 8260B | 0.4 ug/L
n-Butylbenzene | EPA 8260B | 0.4 ug/L
Nickel | EPA 200.7 | 0.010 mg/L
Nickel | EPA 200.8 | 0.001 mg/L
Nickel, dissolved | EPA 6020 | 0.001 mg/L
Nitrate+Nitrite | EPA 300 | 0.1 mg/L
Nitrate-N | EPA 300.0 | 0.1 mg/L
Nitrite-N | EPA 300.0 | 0.1 mg/L
n-Propylbenzene | EPA 8260B | 0.4 ug/L
Naphthalene | EPA 8260B | 0.4 ug/L
NWTPH-diesel in Water | NWTPH-Dx | 50 mg/L
NWTPH-gasoline/MTBE in Water | NWTPH-GX | 50 mg/L
Oil and Grease | EPA 1664 | 2.5 mg/L
Ortho-Phosphate | SM4500-P F | 0.01 mg/L
o-Xylene | EPA 8260B | 0.4 ug/L
PAHs | EPA 625 | 0.0001 mg/L
PCBs | EPA 508, EPA 608 | 0.1 mg/L
Pentachloroethane | EPA 8260B | 0.4 ug/L
Pesticides | EPA 508, EPA 608 | 0.0005 mg/L
pH | SM 4500-H+ B | ________
Phencyclidine | EPA 525.2, EPA 625 | 0.0001 mg/L
Phosphorus | EPA 365.1 | 0.1 mg/L
p-Isopropyltoluene | EPA 8260B | 0.4 ug/L
Potassium | EPA 200.7 | 0.5 mg/L
Salmonella | SM 9260 B | NA
SEC - Butylbenzene | EPA 8260B | 0.4 ug/L
Selenium | EPA 200.7 | 0.025 mg/L
Selenium | EPA 200.8 | 0.005 mg/L
Selenium, dissolved | EPA 6020 | 0.005 mg/L
Silver | EPA 200.7 | 0.010 mg/L
Silver | EPA 200.8 | 0.001 mg/L
Silver, dissolved | EPA 6020 | 0.001 mg/L
Sodium | EPA 200.7 | 0.5 mg/L
Sodium | EPA 6010 B | 0.025 mg/L
Specific Conductivity | SM 2510 B | 10 uS/cm
Styrene | EPA 8260B | 0.4 ug/L
Sulfate | EPA 300.0 | 0.2 mg/L
Surfacants | EPA 425.1 | 0.1 mg/L
tert-Butylbenzene | EPA 8260B | 0.4 ug/L
Tetrachloroethylene | EPA 8260B | 0.4 ug/L
Tetrahydrofuran | EPA 8260B | 2 ug/L
Thallium | EPA 200.7 | 0.010 mg/L
Thallium | EPA 200.8 | 0.001 mg/L
Thallium, dissolved | EPA 6020 | 0.001 mg/L
Toluene | EPA 8260B | 0.4 ug/L
Total Coliform | SM 9223 B
Total Dissolved Solids | SM 2540 C | 20 mg/L
Total Kjeldahl Nitrogen | SM 4500 NorgC | 0.30 mg/L
Total Organic Carbon | SM 5310 B | 0.5 mg/L
Total Organic Halides (TOX) | 9020B | 0.007 mg/L
Total Phenols | SM 5530 D, EPA 420.1 | 0.005 mg/L
Total Suspended Solids | SM2540 D | 4 mg/L
Total Trihalomethanes (TTHMs) | EPA 524.2 | 0.4 ug/L
trans-1,2-Dichlorothene | EPA 8260B | 0.4 ug/L
trans-1,3-Dichloropropene | EPA 8260B | 0.4 ug/L
trans-1,4-Dichlorobutene | EPA 8260B | 0.4 ug/L
Tribromomethane | EPA 8260B | 0.4 ug/L
Trichloroethylene | EPA 8260B | 0.4 ug/L
Trichlorofluoromethane | EPA 8260B | 0.4 ug/L
Turbidity | SM 2130 B | 0.10 NTU
Vanadium, dissolved | EPA 6010 B | 0.001 mg/L
Vinyl Chloride | EPA 8260B | 0.4 ug/L
Vinyl Chloride | EPA 8260SIM | 0.01 ug/L
Zinc | EPA 200.8 | 0.05 mg/L
Zinc, dissolved | EPA 200.8 | 0.005 mg/L
Filtering of dissolved metal samples
† As listed or equivalent

## Individual Analytes - Soil
Individual Analytes - Soil
Parameter | Method† | Practical Quantitation Limit | Unit Price
Ammonia-Nitrogen | EPA 350.1Mod | 0.1 mg/Kg
Arsenic, total | 6010B | 2 mg/Kg
BETX | EPA 8260 B | 0.1 mg/Kg
Cadmium, total | 6010B | 2 mg/Kg
Cation Exchange Capacity | EPA 9081 | 0.03 mg/Kg
Chromium, total | 6010B | 2 mg/Kg
Dioxin | EPA 8290 | 1 ng/Kg
E-coli | SM9221E | 20 CFU/g
Extractable Petroleum Hydrocarbons (EPH) | WDOE | 2000 μg/kg
Fecal Coliform (MPN) | SM9221 | <2 MPN/g
Herbicides | EPA 8151 | **Nominal Value
Lead, total | 6010B | 2 mg/Kg
Mercury | EPA 7471 A | 0.03 mg/Kg
Moisture in Solids | SM2540-G | 0.1%
Nickel | 6010B | 2 mg/Kg
Nitrate and Arsenic | EPA 300M, EPA 6020 | 1, 1.25 mg/Kg
Nitrate-Nitrogen | EPA 9056 | 0.1 mg/Kg
NWTPH-Dx | NWTPH-Dx | 50 mg/Kg
NWTPH-Gx | NWTPH-Gx | 50 mg/kg
PAHs | EPA 8270 C | 0.1 mg/Kg
PCBs | EPA 8082 | 1 mg/Kg
PCBs (Oil) | EPA 600/4-81-045 | 1 part per million
PCP | EPA 8270 C | 0.1 mg/Kg
Pesticides | EPA 8081 A, EPA 8270 C | 0.1 mg/Kg
pH | EPA 9045 A | NA
Priority Pollutant Metals (13) | EPA 6020, EPA 7471 A | 0.03 mg/Kg
Salmonella Present or Absent | EPA 92608 | NA
Semi-Volatiles | EPA 8270 C | 0.1 mg/Kg
TPH (Heavy Fuel Oil) | NWTPH-Dx | 100 mg/Kg
TPH (Diesel) | NWTPH-Dx | 40 mg/Kg
TPH (Gasoline) | NWTPH-Gx | 25 mg/Kg
Volatile Petroleum Hydrocarbons (VPH) | WDOE | 5 mg/kg
Zinc | 6010B | 2 mg/Kg
† As listed or equivalent